## LED Bulb
Comparison Of Cost Savings Of LED Helios Vs. Incandescent Lights
To calculate savings for your premises enter values in the boxes shaded in yellow.
The initial values are based on actual cases and are in RMB. However your values can be entered in any currency.
Power rating of incandescent vs. LED | 20/3.8
Number of lamps of each type for your premises | 253 | Enter the number of lights you like to change in box B5
Total electricity consumption for incandescent lamps (watts) | 5060
Total electricity consumption for LED lights (watts) | 961.4
Unit price of each LED Comets | 60 | Enter the price your vendor is selling the LED bulbs at
Price per unit of electricity (KWH) | 1.1 | Enter the cost of electricity in KWH (aks Units)
Current Yearly Maintenance Charges (per Change) | 1 | How much labor cost will occur each time you replace the Halogen bulb
Average number of hours use per day | 20 | Set the number of operation hours here
| Incandescent Bulbs | LED Helios
Total number of lights | 253 | 253
Price per unit of electricity (KWH) | 1.1 | 1.1
Average number of hours use per day | 20 | 20
Normal useful lifespan (hours) | 2000 | 50000
Total electricity consumption (KWH) per year | 36938 | 7018.22
Total electricity cost per year | 40631.8 | 7720.042
Lifespan (years) | 0.27397 | 6.8493
Total electricity costs over longest lifespan | 278300 | 52877
CO2 emissions (tons per year) | 14.7752 | 2.8073
LED light
vs. Incandescent Bubs
Savings in CO2 emissions in Kg | Kg | 11967.912
Electricity cost savings per year | RMB | 32911.758
Electricity cost savings over longest lifespan | RMB | 225423
Percentage electricity cost savings | in Percentage | 81%
Yearly Savings of all Maintenance Charges | Assuming each 2000 hours we change once | 1108.14
Yearly Savings on The Cooling Energy | Not Included | 0
All savings per year | In RMB | 34019.898
Total investment to Change all LED Comets | Unit Price multiplied by the Total Quantity purchased | 15180
All savings during the Total LED lifespan | In RMB | 194177.5
Return on Investment ROI in Years | Years | 0.46123
Copyright 2009 - 2018 U-Tron (Beijing) Electronics Co. Ltd.