## Street light
LED Street Light Cost Savings Calculator
Number of lights installed | 2000
Price per KWH for electricity in your application | 1
Average number of hours of use per day | 10
Number of days used per year | 365
| Normal lights | Sodium bulbs | LED lights
Number of lights | 2000 | 2000 | 2000
Price per KWH for electricity | 1 | 1 | 1
Number of hours of use per 24 hour period | 10 | 10 | 10
Your current maintenance cost per light per year | 450 | 220 | 10
Average lifetime (in hours) of replacement lamp | 2000 | 16000 | 50000
Watts consumed per lamp | 250 | 150 | 80
Total current electricity cost per year for above number of lights | 1825000 | 1095000 | 584000
Total current maintenance cost per year for above number of lights | 900000 | 440000 | 20000
Total cost per year (at current values) | 2725000 | 1535000 | 604000
Average lifetime for each light (in years) | 0.54795 | 4.3836 | 13.6986
Total electricity and maintenance costs during lifetime of total light above | 37328767.1233 | 21027397.2603 | 8273972.6027
C02 emissions (tons per year) | 0.365 | 0.219 | 0.1168
Comparison of savings in Electricity, Maintenance, and CO2 Emissions
| Sodum lamp vs normal light | LED lamp vs normal light | LED lamp vs Sodium light
Savings per year | 1190000 | 2121000 | 931000
Savings during total lifetime of lamp | 16301369.863 | 29054794.5205 | 12753424.6575
Percentage saving | 43.67% | 77.83% | 60.65%
Reduced CO2 emissions (tons per year) | 0.146 | 0.2482 | 0.1022
Percentage annual reduction in CO2 emissions | 40% | 68% | 46.67%
ROI
| LED vs normal light | LED vs Sodium light
Price per LED lamp(single unit) Change to your selling price | 4800 | 4800
Total investment LED Lamp for above number of lamps | 9600000 | 9600000
Total savings per year | 2121000 | 931000
Total savings lifetime | 29054794.5205 | 12753424.6575
Payback period on initial investment (years) | 4.5262 | 10.3115
Copyright 2009, 2017 U-Tron (Beijing) Electronics Co. Ltd.
Note on A24: magasweran: 1KW/h will emits 400 grams of carbon in a coal fire furnace. This number will change if the electricity is generated by hydro , solar or wind power.
Note on A40: magasweran: Price per 80 Watt LED is estimated to be $500.00 You can input your selling price in any local curency.
Note on B6: magasweran: Change this number using your own counrty specific price and currency.
Note on B12: magasweran: Including Mercury lamps.
Note on B16: magasweran: Include number of times you change the bulb. We know you need to change 2 times per year for Mercury lamps. Include Lift van charges, labor, stopping traffic and other overhead charges in this column. This figures can be obtained from the local authorities.
Note on C12: magasweran: High Pressure Sodium Lamps.
Note on C16: magasweran: Include number of times you change the bulb. We estimate 16,000 hours is like 4 years so you need to change 1 time every 4 year for Philips HPS lamps. Include Lift van charges, labor, stopping traffic and other overhead charges in this column. This figures can be obtained from the local authorities.
Note on C17: magasweran: Best available in the market will last about 4 years. But we know most Sodium lamps need to be changed in every 2 years.
Note on D16: magasweran: This should be "0" but about 5% failure rate over the 50,000 hours is normal. We can put any number to justify the expense you will occur. In China we use RMB 10.00 per lamp so we are not saying zero maintenance.